PLEASE NOTE:
The program takes awhile to read in, be
patient and the Threshold window will pop-up
when the file is finished reading in.
For more on loading and freezing go to LOAD
section.
If you enter in another file after running a
previous file, be sure to click clear.

------TABLE OF CONTENTS------
Entering In The File
Entering In Thresholds
Entering In Multiple Files
View Options - File
View Options - Events
View Options - Daily Events
View Options - Statistics
Save
Load
Clear

------ENTERING IN THE FILE------

filename.csv:
In the bar with the text "filename.csv" click
to access the file selection. With the file
selection you can find your file and open it.
Once you click open you will see the file
path replace the text "filename.csv".

Format:
The format is the type of layout of the file.
Enter only the numbers 1-4 into this text field
or the program will error/terminate.

Depending on how you converted the ActiLife
data into a CSV file is how you know which
format to choose. If you opened the file in
ActiLife and then converted it, you will use
either 1 or 4 depending on if the file is in
seconds or minutes. If you did not open the
file in ActiLife and only used ActiLife to
convert the file, you will use either 2 or 3.

To know which type of file it could be when
you were not the user that converted the file,
look at the file name.
If the file name contains "DataTable", then
the file is format 1 or 4. If "DataTable" is
not in the file title, then it is format 2 or 3.

To know if the file is in minute or second
increments, look to the file title. If the title
contains "60secs" then the file is in minute
increments. If the title contains "1sec" then the
file is in second increments.

The format choices are as follows:
1 - The data is in minute increments.
2 - The data is in second increments.
3 - Alternate choice for minute increments.
    Use this format if entering 1 for the file
    makes the program crash.
4 - Alternate choice for second increments.
    Use this format if entering 2 for the file
    makes the program crash.

BE PATIENT (Phantom Freeze)
The program takes some time to read the file.
After closing the window that prompts you
about the loading time, the threshold window
will pop up within a few minutes. If it takes
longer than a few minutes exit the program and
try again. If the program continues to do
this, try the alternate format option for the
files type of incements.
For example, if the number you entered for
format was 1 (file is in minute increments)
then the alternate format would be 3.

------ENTERING IN MULTIPLE FILES------
To enter in multiple files you enter your first
file and hit enter. Then you will be prompted
about whether or not you would like to read in
another file. Once you click yes click the text
field where you entered in the first file. Once
it is finished loading the first file it will
then pop up the file search menu. Once you
select your file and hit enter it will prompt you
again. This cycle continues until all files wanted
are entered.
Please note that the more files you enter, the
longer it will take to load each file.

------ENTERING IN THRESHOLDS------
The starting heart rate threshold must be
HIGHER than the ending heart rate tremor.
Default Thresholds:
Starting Heart-rate: 120
Ending Heart-rate: 100
Movement: 5000
Thresholds are what helps the program
define a tremor when processing the file.

------VIEW OPTIONS - FILE------
This is the option to view the raw file that
was read in. It gives every min/sec from the
device. There is also a save function on this
window, Please refer to SAVE section.

------VIEW OPTIONS - EVENTS------
This is the option to view all tremor events.
It gives you information about what is happen
during each tremor. There is also a save
function on this window, Please refer to SAVE
section.

------VIEW OPTIONS - DAILY EVENTS------
This is the option to view how many tremors
happened per day in the file and gives
statistics about each day. There is also a
save function on this window, Please refer to
SAVE section.

------VIEW OPTIONS - STATISTICS------
This is to view the overall statistics about
the file regarding the tremors. This is where
you see the mean, max, min and other
calculations. There is also a save function on
this window, Please refer to SAVE section.

------SAVE------
When ever you save a file using one of the
view option windows, it saves using the file
selection. Find where you would like to save
your file then type what you would like your
file to be titled then hit save.
You will find your file where you selected to
save it. If you forgot to select where to
save it, you will find it in your documents
folder.

------LOAD------
The load time required for your file depends on
how large of a file it is. The loading process
can take anywhere between 3-5 minutes. It could
take longer if you have chosen to load many files at
one time.
It may be better to do each file individually
if possible.
Please note that although the program seems
unresponsive after entering a file, it is a
sign that it is loading your request.

------CLEAR------
To clear the "filename.csv" and the "format"
text fields, click the clear button right
below the enter button and it will clear.